## Slide 1: Sample Presentation Model for World Technology Summit
Michael W. Condry, PhD
IEEE Life Fellow
Member: IES Senior AdCom, Computer Society, CTSoc Board of Governors, and CNSV

## Slide 2: Notes
Some notes
This is to give the presenter the kind of presentation that would be suitable for a research summary topic at the World Technology Summit.
This is different than a standard IEEE conference presentation. Do not assume that the audience has read your work or understands the technology the way that others you interact with do.
Your goal is to explain broadly the overall solutions to the issues of the topic, then examine in detail the area where your research might be able to be utilized in solving the challenge.
This sample presentation is just to show the idea of the style of presentation. There will be notes at the bottom about the point of the page. You would be expected to be much more detailed in the presentation.
This page is just to explain a WTS presentation strategy – review the overall strategies and the one you think is best and why. If Industry is interested in your research strategy you will benefit.

## Slide 3: Sample System Cooling Methodologies
Solution strategies and how they compare
Managing cooling needs to be addressed at many levels including component devices, circuitry, and overall system. Scoping cooling issues to keep up with AI computing demands requires examining solution strategies across all areas.
This presentation focuses on overall system cooling methodologies. We examine the options, compare their positive and negative values, and recommend strategies for each kind of system.
At the system level there are essentially three different strategies to address cooling:
  Air
  Water
  Coolant
The point is the solution truly requires examining all strategies across elements in the system. Any one researcher is likely focused on one area, so here narrow down after noting the overall breath of the problem space.

## Slide 4: Review of Requirements
Functionality: What level of cooling is required for each kind of device
  Client, edge, and server
Feasibility of Deployment
  can’t carry an A/C around on your phone
Regulatory specifications
  PUE reduction
Energy efficiency
  Energy savings, density
Spell out the expected requirements with known measures

## Slide 5: Air Cooling
Air Cooling is the ubiquitous standard today. This chilled air can be blown into the system with a fan.
A bit more on air cooling methodologies….
Positives
  Existing infrastructure and ecosystem
  Suitable for all devices: clients, edge and service
Negatives
  Power consumption
  Water usage
  Limitations : Show measures of limitations

## Slide 6: Water Cooling
Water Cooling is less common. Utilizing water is more effective and consumes less power than blowing cold air.
A bit more on water cooling methodologies….
Positives
  Power consumption reduction (vs. air)
  Reduction in water use (vs. air)
  Increased compute density (eliminates fans, chillers)
Negatives
  Not suitable for all devices: clients or edge
  Additional component validation
  Limitations : Show measures of limitations
Spell out where it is used, overhead costs, and effectiveness.

## Slide 7: Alternative Cooling
Alternative Cooling such as immersion is a new and emerging area. Using a coolant to immerse system can be more effective than either water or air
A bit more on alternative cooling methodologies….
Positives
  Power consumption reduction (vs. air)
  Reduction in water use (vs. air)
  Increased compute density (eliminates fans, chillers)
Negatives
  Nascent market and ecosystem
  Cost of infrastructure retrofit
  Limitations : Show measures of limitations
Spell out where it is used, overhead costs, and effectiveness.

## Slide 8: Comparison
Effectiveness
Graphical
Total Cost
Graph

## Slide 9: My Recommendation
As needed by device

## Slide 10: Summary